# Electrical  Lockout/Tagout

29 CFR PART 1910.147

THE CONTROL OF HAZARDOUS ENERGY

(LOCKOUT/TAGOUT)

## Definitions

Affected Employee

An employee whose job requires him/her to operate or use a machine or equipment on which servicing or maintenance is being performed under lockout or tagout, or whose job requires him/her to work in an area in which such servicing or maintenance is being performed.

Authorized Employee

A person who locks or implements a tagout system procedure on machines or equipment to perform the servicing or maintenance on that machine or equipment.  An authorized employee and an affected employee may be the same person when the affected employee's duties also include performing maintenance or service on a machine or equipment which must be locked or a tagout system implemented.

Capable Of Being Locked Out

An energy isolating device will be considered to be capable of being locked out either if it is designed with a hasp or other attachment or integral part to which, or through which a lock can be affixed, or if it has a locking mechanism built into it.  Other energy isolating devices will also be considered to be capable of being locked out, if lockout can be achieved without the need to dismantle, rebuild, or replace the energy isolating device or permanently alter its energy control capability.

Energized

Connected to an energy source or containing residual or stored energy.

Energy Isolating Device

A mechanical device that physically prevents the transmission or release of energy, including but not limited to the following: A manually operated electrical circuit breaker; a disconnect switch; a manually operated switch by which the conductors of a circuit can be disconnected from all ungrounded supply conductors and, in addition, no pole can be operated independently; a slide gate; a slip bind; a line valve; a block; and any similar device used to block or isolate energy.  The term does not include a push button, selector, and any other control circuit type devices.

Energy Source

Any source of electrical, mechanical, hydraulic, pneumatic, chemical, thermal, or other energy.

Hot Tap

A procedure used in the repair, maintenance and services activities which involve welding on a piece of equipment (pipelines, vessels or tanks) under pressure, in order to install connections or appurtenances.  It is commonly used to replace or add sections of pipeline without the interruption of service for air, gas, water, steam, and petrochemical distribution systems.

Lockout

The placement of a lockout device on an energy isolating device, in accordance with an established procedure, ensuring that the energy isolating device and the equipment being controlled cannot be operated until the lockout device is removed.

Lockout Device

A device that utilizes a positive means such as a lock, either key or combination type, to hold an energy isolating device in the safe position and prevent the energizing of a machine or equipment.

Normal Production Operations

The utilization of a machine or equipment to perform its intended production function.

Servicing and/or Maintenance

Workplace activities such as constructing, installing, setting up, adjusting, inspecting, modifying, and maintaining and/or servicing machines or equipment.  These activities include lubrication, cleaning or un-jamming of machines or equipment and making adjustments or tool changes, where the employee may be exposed to the unexpected energization or startup of the equipment or release of hazardous energy.

Setting Up

Any work performed to prepare a machine or equipment to perform its normal production operation.

Tagout

The placement of a tagout device on an energy isolating device, in accordance with an established procedure, to indicate that the energy isolating device and the equipment being controlled may not be operated until the tagout device is removed.

Tagout Device

A prominent warning device, such as a tag and a means of attachment, which can be securely fastened to an energy isolating device in accordance with an established procedure, to indicate that the energy isolating device and the equipment being controlled may not be operated until the tagout device is removed.

## Scope

This standard covers the servicing and maintenance of machines and equipment in which the unexpected energization or start up of the machines or equipment, or release of stored energy could cause injury to employees.  This standard establishes minimum performance requirements for the control of such hazardous energy.

This standard does not cover the following:

Construction, agriculture, and maritime employment.

Installations under the exclusive control of electric utilities for the purpose of power generation, transmission, and distribution, including related equipment for communication or metering.

Exposure to electrical hazards from work on, near, or with conductors or equipment in electrical utilization installations, which is covered by Subpart S of this part.

Oil and gas well drilling and servicing.

## Application

This standard applies to the control of energy during servicing and/or maintenance of machines and equipment.

Normal production operations are not covered by this standard.  Servicing and/or maintenance which takes place during normal production operations is covered by this standard only if:

a.	An employee is required to remove or bypass a guard or other safety device.

b.	An employee is required to place any part of his or her body into an area on a machine or piece of equipment where work is actually performed upon the material being processed (point of operation) or where an associated danger zone exists during a machine operating cycle.

## Purpose

This section requires companies to establish a program and utilize procedures for affixing appropriate lockout/tagout devices to energy isolating devices, and to otherwise disable machines or equipment to prevent unexpected energization, start-up or release of stored energy in order to prevent injury to employees.

## General Requirements

### Energy Control Program

The company shall establish a program consisting of an energy control procedure and employee training to ensure that before any employee performs any servicing or maintenance on a machine or equipment where the unexpected energizing, start up, or release of stored energy could occur and cause injury, the machine or equipment shall be isolated, and rendered inoperative.

### Lockout/Tagout

If an energy isolating device is not capable of being locked out, the company's energy control program shall utilize a tagout system.

After October 31, 1989, whenever major replacement, repair, renovation or modification of machines or equipment is performed, and whenever new machines or equipment are installed, energy isolating devices for such machines or equipment shall be designed to accept a lockout device.

### Full Employee Protection

When a tagout device is used on an energy isolating device which is capable of being locked out, the tagout device shall be attached at the same location that the lockout device would have been attached, and the company shall demonstrate that the tagout program will provide a level of safety equivalent to that obtained by using a lockout program.

In demonstrating that a level of safety is achieved in the tagout program which is equivalent to the level of safety obtained by using a lockout program, the company shall demonstrate full compliance with all tagout related provisions of this standard together with such additional elements as are necessary to provide the equivalent safety available from the use of a lockout device.  Additional means to be considered as part of the demonstration of full employee protection shall include the implementation of additional safety measures such as removal of an isolating circuit element, blocking of a controlling switch, opening of an extra disconnecting device, or the removal of a valve handle to reduce the likelihood of inadvertent energization.

## Energy Control Procedure

Procedures shall be developed, documented and utilized for the control of potentially hazardous energy when employees are engaged in the activities covered by this section.

The procedures shall clearly and specifically outline the scope, purpose, authorization, rules, and techniques to be utilized for the control of hazardous energy, and the means to enforce compliance including, but not limited to, the following:

A specific statement of the intended use of the procedure.

Specific procedural steps for shutting down, isolating, blocking and securing machines or equipment to control hazardous energy.

Specific procedural steps for the placement, removal and transfer of lockout devices or tagout devices and the responsibility for them.

Specific requirements for testing a machine or equipment to determine and verify the effectiveness of lockout devices, tagout devices, and other energy control measures.

## Protective Materials and Hardware

Locks, tags, chains, wedges, key blocks, adapter pins, self-locking fasteners, or other hardware shall be provided by the company for isolating, securing or blocking of machines or equipment from energy sources.

Lockout/Tagout devices shall be singularly identified; shall be the only device(s) used for controlling energy; shall not be used for other purposes; and shall meet the following requirements:

1.	Durable

Lockout/Tagout devices shall be capable of withstanding the environment to which they are exposed for the maximum period of time that exposure is expected.

Tagout devices shall be constructed and printed so that exposure to weather conditions or wet and damp locations will not cause the tag to deteriorate or the message on the tag to become illegible.

Tags shall not deteriorate when used in corrosive environments such as areas where acid and alkali chemicals are handled and stored.

2.	Standardized

a.	Lockout/Tagout devices shall be standardized within the facility in at least one of the following criteria: Color; Shape; Size; and additionally, in the case of tagout devices, print and format shall be standardized.

3.	Substantial

a.	Lockout devices shall be substantial enough to prevent removal without the use of excessive force or unusual techniques, such as with the use of bolt cutters or other metal cutting tools.

b.	Tagout devices including and their means of attachment, shall be substantial enough to prevent inadvertent or accidental removal.  Tagout device attachment means shall be of non-reusable type, attachable by hand, self locking, and non-releasable with a minimum unlocking strength of no less than 50 pounds and having the general design and basic characteristics of being at least equivalent to a onepiece, all-environment-tolerant nylon cable tie.

4.	Identifiable

a.	Lockout/Tagout devices shall indicate the identity of the employee applying the device(s).  Tagout devices shall warn against hazardous conditions if the machine or equipment is energized and shall include a legend such as: DO NOT START, DO NOT OPEN, DO NOT CLOSE, DO NOT ENERGIZE, AND/OR DO NOT OPERATE.

## Periodic Inspections

The company shall conduct a periodic inspection of the energy control procedure at least annually to ensure that the procedure and the requirements of this standard are being followed.

The periodic inspection shall be performed by an authorized employee other than the one(s) utilizing the energy control procedure being inspected.

The periodic inspection shall be designed to correct any deviations or inadequacies observed.

Where lockout is used for energy control, the periodic inspection shall include a review, between the inspector and each authorized employee, of that employee's responsibilities under the energy control procedure being inspected.

Where tagout is used for energy control, the periodic inspection shall include a review, between the inspector and each authorized and affected employee, of that employee's responsibilities under the energy control procedure being inspected.

The company shall certify that the periodic inspections have been performed.  The certification shall identify the machine or equipment on which the energy control procedure was being utilized, the date of the inspection, the employees included in the inspection, and the person performing the inspection.

## Energy Isolation

Implementation of lockout or the tagout system shall be performed only by authorized employees.

## Notification of Employees

Affected employees shall be notified by the company or authorized employee of the application and removal of lockout/tagout devices.  Notification shall be given before the controls are applied, and after they are removed from the machine or equipment.

## Lockout/Tagout Policies & Procedures

### Purpose

This procedure establishes the minimum requirements for the lockout/tagout of energy isolating devices.  It shall be used to ensure that the machine or equipment are isolated from all potentially hazardous energy, and locked out/tagged out before employees perform any servicing or maintenance activities where the unexpected energization, start-up or release of stored energy could cause injury (Type(s) and Magnitude(s) of Energy and Hazards).

### Responsibility

Appropriate employees shall be instructed in the safety significance of the lockout/tagout procedure.  Each new or transferred affected employee and other employees whose work operations are or may be in the area shall be instructed in the purpose and use of the lockout/tagout procedure.

### Preparation for Lockout/Tagout

Make a survey to locate and identify all isolating devices to be certain which switch(s), valve(s) or other energy isolating devices apply to the equipment to be locked or tagged out.  More than one energy source (electrical, mechanical, or others) may be involved.

### Sequence of Lockout/Tagout System Procedure

Notify all affected employees that a lockout/tagout system is going to be utilized and the reason therefore.  The authorized employee shall know the type and magnitude of energy that the machine or equipment utilizes and shall understand the hazards thereof.

If the machine or equipment is operating, shut it down by the normal stopping procedure (depress stop button, open toggle switch, etc.).

Operate the switch, valve, or other energy isolating device(s) so that the equipment is isolated from its energy source(s).  Stored energy (such as flywheels, hydraulic systems, and air, gas, steam, or water pressure, etc.) must be dissipated or restrained by methods such as repositioning, blocking, bleeding down, etc.

Lockout/Tagout the energy isolating devices with assigned individual lock(s) or tag(s) (Method(s) Selected; i.e.: Locks tags, additional safety measures, etc.).

After ensuring that no personnel are exposed, and as a check on having disconnected the energy sources, operate the push button or other normal operating controls to make certain the equipment will not operate.

CAUTION:  Return operating control(s) to "neutral" or "off" position after the test.

The equipment is now locked out or tagged out.

## Restoring Machines or Equipment to Production Operations

1.	After the servicing and/or maintenance is complete and equipment is ready for normal production operations, check the area around the machines or equipment to ensure that no one is exposed.

2.	After all tools have been removed from the machine or equipment, guards have been reinstalled and employees are in the clear, remove all lockout/tagout devices to restore energy to the machine or equipment.

### Procedure Involving More Than One Person

In the preceding steps, if more than one individual is required to lockout/tagout equipment, each shall place his/her own personal lockout/tagout device on the energy isolating device(s).  When an energy isolating device cannot accept multiple locks or tags, a multiple lockout/tagout device (hasp) may be used.  If lockout is used, a single lock may be used to lockout the machine or equipment with the key being placed in a lockout box or cabinet.  As each person no longer needs to maintain his/her lockout protection, that person will remove his/her lock from the box or cabinet.

### Basic Rules for Using Lockout/Tagout System Procedure

All equipment shall be locked out or tagged out to protect against accidental or inadvertent operation when such operation could cause injury to personnel.  Do not attempt to operate any switch, valve, or other energy isolating device where it is locked or tagged out.

## Equipment of Facilities

The worker or employee shall follow the following for Equipment or Facilities Lockout.Tagout.

## Lockout/Tagout Sequence

The worker places the tag on all controls to warn others that the equipment is not to be operated.  The worker writes the reason on the tag(s), identifies the equipment and dates and signs each tag.

The worker will pull power switches and/or circuit breakers and place a lockout clip(s) and a lock(s) on the controls to make them inoperative.  Other power sources such as air, steam, or hydraulic may require blinding, disconnection, or valve locking.

After the worker has tagged and locked the equipment, the equipment should then be tried to assure that it will not operate.

All company locks and tags should be installed first and removed last, if possible.

When other workers are required to work on equipment, they must place their personal locks and tags on each piece of equipment.

All workers must 'try" equipment after installing their personal locks to assure, once again that it will not start.

Locks and tags must remain on controls until work has been completed and it is safe to start the equipment.  If maintenance or electrical work is to continue into the next shift, persons going off shift must remove their "personal" lock and leave their tag on the equipment.  Persons coming on shift must install their own personal lock(s) and tag(s) if they will be working on the equipment.

Upon completion of work, all other workers will remove their locks and tags first.  All company locks and tags are to be removed last after it is determined that the equipment is safe to operate.

No equipment should be started by anyone (including bumping to check rotation) without permission from the Safety Coordinator or supervisor responsible for the equipment.

## Application of Control

The established procedure for the implementation of lockout/tagout system procedures shall cover the following elements and actions and shall be done in the following sequence:

## Preparation for Shutdown

Before an authorized or affected employee turns off a machine or equipment, the authorized employee shall have knowledge of the type and magnitude of the energy, the hazards of the energy to be controlled, and the method or means to control the energy.

## Machine or Equipment Shutdown

The machine or equipment shall be turned off or shut down using the procedures required by this standard.  An orderly shutdown must be utilized to avoid any additional or increased hazard(s) to employees as a result of equipment deenergization.

## Machine or Equipment Isolation

All energy isolating devices that are needed to control the energy to the machine or equipment shall be physically located and operated in such a manner as to isolate the machine or equipment from the energy source(s).

## Lockout or Tagout Device

Lockout or Tagout devices shall be affixed to each energy isolating device by authorized employees.

Lockout devices, where used, shall be affixed in a manner to that will hold the energy isolating devices in a "safe" or "off" position.

Tagout devices, where used, shall be affixed in such a manner as will clearly indicate that the operation or movement of energy isolating devices from the "safe" or "off" position is prohibited.

## Release from Lockout or Tagout

The following procedures shall be followed for each lockout/tagout device that shall be removed or released.

## Lockout/Tagout Device Removal

Each lockout/tagout device shall be removed from each isolating device by the employee who applied the device.  The only exception is when the authorized employee is not available to remove it, that device may be removed under the direction of the company, provided that specific procedures and training for such removal have been developed, documented, and incorporated into the company's energy control program.  The company shall demonstrate that the specific procedure provides equivalent safety to the removal of the device by the authorized employee who applied it.  The specific procedure shall include at least the following elements:

Verification by the company that the authorized employee who applied the device is not at the facility.

Making all reasonable efforts to contact the authorized employee to inform him/her that his/her lockout/tagout device has been removed.

Ensuring that the authorized employee has this knowledge before he/she resumes work at that facility.

## Outside Personnel

a.	Whenever outside servicing personnel are to be engaged in activities covered by the scope and application of this standard, the on-site company shall inform each other of their respective lockout/tagout procedures.

b.	The on-site company shall ensure that his/her personnel understand and comply with restrictions and prohibitions of the outside company's energy control procedures.

## Shift or Personnel Changes

Specific procedures shall be utilized during shift or personnel changes to ensure the continuity of lockout/tagout protection, including provision for the orderly transfer of lockout/tagout devices between off-going and oncoming employees, to minimize exposure to hazards from the unexpected energization, start-up of the machine or equipment, or release of stored energy.

## Locks

Only individual keyed locks will be used.  The key will remain in the possession of the person placing the locks. A master series of locks to be used specifically for lockout may be provided to each department that requires them.  Master keys for the department will remain in the possession of the Safety Coordinator.

## Danger Tags

Danger tags are not to be considered as a positive means of securing equipment, but are to be used in conjunction with locks.  Tags will be used only to identify that work is being done on a valve, switch, or piece of equipment when injury or property damage could result from the operation.  No work is to be done on any operable equipment until the operation of it is prevented by the use of this procedure.

## Warning

Any person who operates a switch or device to which “DANGER” tags are attached or removes a tag without authorization will be subject to dismissal.

## Employee Training

All employees who are responsible for following this procedure must receive training in the procedure.  This includes all employees who perform the following duties: maintenance, repair, or construction personnel, janitorial or clean-up personnel.  The company shall provide training to ensure that the purpose and function of the energy control program are understood by employees and that the knowledge and skills required for the safe application, usage, and removal of energy controls are required by employees.  The training shall include the following:

a.	Each authorized employee shall receive training in the recognition of applicable hazardous energy sources, the type and magnitude of the energy available in the workplace, and the methods and means of necessary for energy isolation and control.

b.	Each affected employee shall be instructed in the purpose and use of the energy control procedure.

c.	All other employees whose work operations are or may be in an area where energy control procedures may be utilized, shall be instructed about the procedure, and about the prohibition relating to attempts to restart or re-energize machines or equipment which are locked out or tagged out.

When tagout systems are used, employees shall also be trained in the following limitations of tags:

a.	Tags are essentially warning devices affixed to energy isolating devices, and do not provide the physical restraint on those devices that is provided by a lock.

b.	When a tag is attached to an energy isolating means, it is not to be removed without authorization of the authorized person responsible for it, and it is never to be bypassed, ignored, or otherwise defeated.

c.	Tags must be legible and understandable by all authorized, affected and all other employees whose work operations are or may be in the area, in order to be effective.

d.	Tags and their means of attachment must be made of materials which will withstand the environmental conditions encountered in the workplace.

e.	Tags may evoke a false sense of security, and their meaning needs to be understood as part of the overall energy control program.

f.	Tags must be securely attached to energy isolating devices so that they cannot be inadvertently or accidentally detached during use.

Employee retraining shall be provided for all authorized and affected employees annually, or whenever there is a change in their job assignments, a change in machines, equipment or processes that present a new hazard, or when there is a change in the energy control procedures.

Additional retraining shall also be conducted whenever a periodic inspection, or whenever the company has reason to believe, that there are deviations from or inadequacies in the employee's knowledge or use of the energy control procedures.

The retraining shall reestablish employee proficiency and introduce new or revised control methods and procedures, as necessary.

The company shall certify that employee training has been accomplished and is being kept up to date.  The certification shall contain each employee's name and the dates of training.  Each training session shall include at minimum the following:

a.	Lecture regarding this procedure including its purpose, scope, and application.

b.	Visual support materials including but not limited to video or film presentation of "Lockout Safety Procedures".

c.	Written quiz to establish the proficiency of the student.

## Enforcement/Inspection

Due to the severity of injury that could occur while not following these procedures, the company will strictly enforce this policy.  The primary responsibility lies with each supervisor for monitoring performance of their workers.  Those employees found to be in violation of this procedure will be subject to the "Disciplinary Policy".

All surveys of worker performance shall be documented on the District's "Safety Inspection Report" form.  The "inspection" must include the following information:

a.	Identity of the machine or equipment on which the "Lock Out" procedure was being utilized

b.	Date of inspection

c.	Employees included in the inspection

d.	The person performing the inspection.

## Lockout/Tagout Procedure Form

Entry No.

| 1. |  | Name of Company |
| --- | --- | --- |
| 2. |  | Type(s) and Magnitude(s) of energy and hazards |
| 3. |  | Name(s)/Job Title(s) of employees authorized to lockout or tagout |
| 4. |  | Name(s)/Job Title(s) of affected employees and how to notify |
| 5. |  | Type(s) and Location of energy isolating means |
| 6. |  | Type(s) of Stored Energy - methods to dissipate or restrain |
| 7. |  | Method(s) Selected ie: Locks, Tags, additional safety measures, etc. |
| 8. |  | Type(s) of Equipment checked to ensure disconnection |
| 9. |  | Name(s)/Job Title(s) of employees authorized for group lockout or tagout |