# Hazardous Spill Prevention Control and Countermeasure Program

## Hazardous Spill Control and Spill Prevention                                                                                                Control and Counter Measure Program

## General Information

1.	FACILITY INFORMATION

NAME OF FACILITY:  [Company_Name]

MAILING ADDRESS:

TELEPHONE NO.:

PLANT MANAGER:

OPERATIONS:

2.	OWNER INFORMATION

OWNER NAME:

MAILING ADDRESS:

TELEPHONE NO.:

3. 	STORAGE CAPACITY AND TYPE OF MATERIAL STORED

Below Ground Tanks:		NONE

Above Ground Tanks:		NONE

Miscellaneous Laboratory Chemicals including:

Ethanol		- 5 gallon containers

Formic Acid	- 100 gallon container.

4.	DATE OPERATION BEGAN

[Company_Name] has not begun full operations at this facility yet.

5.	SCHEMATIC DIAGRAM

See attached Exhibit A.

## Past History of Spills and Possible Causes of Future Spills

1.	PAST HISTORY OF SPILLS

There have been no spills since [Company_Name] started any operations at this facility.

2.	POSSIBLE CAUSES OF FUTURE SPILLS

No spills are anticipated.  Care is taken in the storage and use of any chemicals.

## Preventable Measures

The following preventative measures have been included in [Company_Name]'s spill prevention program:

1.	TRAINING

All employees, including supervisors and any maintenance personnel, will be advised by the management staff of procedures to be followed in case of emergency (see Section IV).  This includes possible pollution hazards, drainage and personnel to be contacted should an emergency arise.  All pertinent information is posted in the supervisor's office.

2.	SECURITY

The facility operates 8 hours per day, five days per week.

The facility is protected by a Central Station Burglar/Fire Alarm System.

3.	INSPECTIONS

An inventory is taken weekly of the quantity of material and chemical on site.

Storage cabinets are check and maintained as above.

Records of inspections are retained at the facility.

## Contingency Plan

The following is a summary of the complete plan.  Please refer to the 'CONTINGENCY AND EMERGENCY PLAN" for complete details.

A.	EMERGENCY PROCEDURE

In the event of any spill, the following emergency action is to be taken:

1.	Contain any spilled material by the use of absorbent material and/or manually pumping the spilled material into container.

2.	Contact one of the following in the order listed:

a. (Coordinator’s name)

b. (Name)

3.	(Coordinator’s name) will contact the FIRE DEPARTMENT @ 911 immediately and assist them however possible.  He will also notify the STATE OFFICE OF EMERGENCY SERVICES (800) 852-7550 and report the following:

a.	Name and telephone number;

b.	Company name and address;

c.	Time and type of incident;

d.	Name and quantity of materials;

e.	Extent of injuries, if any; and

f.	Possible hazards to others or the environment.

g.	When the emergency situation is under control, cleanup or neutralization can begin using appropriate tools, safety equipment, and outside services as necessary, depending on the type of emergency.  All hazardous materials must be cleaned up, stored properly or hauled to an appropriate dump site for disposal.

h.	Before normal operations begin again, all tools, emergency equipment and devices listed on the Emergency Equipment List must be operational and ready for use.  The (address) COUNTY ENVIRONMENTAL HEALTH DEPARTMENT must also be notified.

i.	Within 15 days after an emergency that requires implementing the contingency plan, a written report must be completed and sent to the (address) COUNTY ENVIRONMENTAL HEALTH DEPARTMENT and a copy will be kept for our files.  See Exhibit "B" for this report.

The report must contain the following:

a.	Owner's Name, address, and telephone number;

b.	Company name, address, and telephone number;

c.	Date, time, and type of emergency;

d.	Name and quantity of materials involved;

e.	Extent of injuries, if any;

f.	Assessment of actual or potential hazards to human health or the environment, if applicable; and

g.	Estimated quantity and disposition of waste resulting from the emergency situation.

B.	CLEAN-UP OF SPILL

1.	Formic Acid, etc.

All spilled liquid acid material is to be covered with absorbent material and sufficient amounts of water until the pH of the solution becomes neutral (estimated 5 gallons of water/container).  The residue is then to be placed into a closed durable container and disposed of at an approved landfill.

2.	Ethanol

This flammable material and any other similar liquids are to be covered with absorbent material and spread to soak up any remaining spilled material.  The contaminated absorbent material is to be swept up and placed into a closed durable container and disposed of at an approved landfill for off-site disposal.

3.	A "Spill Event Record" is to be completed.  See attached Exhibit B.

EXHIBIT B

## Spill Event Record

1.	NAME OF PERSON REPORTING

2.	ADDRESS OF PERSON REPORTING

________________________________________________________________

3.	TELEPHONE NUMBER OF PERSON REPORTING ______________________________________________

4.	EXACT LOCATION OF SPILL ________________________________________________________________

________________________________________________________________

________________________________________________________________

- COMPANY NAME AND LOCATION

________________________________________________________________

________________________________________________________________

________________________________________________________________

6.	MATERIAL SPILLED ________________________________________________________________

7.	ESTIMATED QUANTITY ________________________________________________________________

8.	SOURCE OF SPILL ________________________________________________________________

9.	CAUSE OF SPILL ________________________________________________________________

10.	NAME OF BODY OF WATER INVOLVED ________________________________________________________________

________________________________________________________________

- ACTION TAKEN FOR CONTAINMENT AND CLEAN-UP

________________________________________________________________

________________________________________________________________

EXHIBIT C

## Clean-Up Procedure

## General

A.	All spills, regardless of the quantity, must be contained if there is any danger of the discharge reaching a storm drain, sanitary sewer or causing damage to the environment.

B.	After the spill has been contained, the Emergency Coordinator should be contacted to determine if any agencies must be notified and to provide assistance with clean-up procedures.  Emergency Coordinator will need to be provided with the following information:

1.  material spilled,  2.  quantity spilled,  3.  area where spill occurred,  4.  time spill occurred,  5.  action already taken to contain or clean up spill.

C.	The following "Spill Clean-Up Procedures" for different types of spills are to be used as guidelines.  It must be remembered that any spill clean-up requires fast action and common sense.

D.	In order to contain and clean up any spill, the facility must have certain equipment.  The following is a suggested list of materials to be available at the facility:

1.	absorbent material, Sand, etc. - 200 pounds total

2.	oil absorbent brooms, such as those manufactured by 3M

3.	air-operated diaphragm pump, complete with suction and discharge hose - 1 pump

4.	Dike material, such as Plug and Dike (available from 3WS Distributors, Inc.)

## Flammable Liquid Spill

(SOLVENT)

Caution:	Keep open flame, sparks or anything which might cause ignition away from spill area.

Procedure:

A.	Minor spill (less than 25 gallons)

1.	Turn off all equipment which might cause ignition.

2.	Apply sufficient quantity of sand or noncombustible absorbent material to collect the spill.

3.	Open doors, windows, etc. for ventilation.

4.	Collect absorbent and place in drum/container for disposal.

Note:  Even though the liquid/solvent has been absorbed, the absorbent material may now be flammable so care should be taken not to ignite the material.

B.	Major spill (over 25 gallons)

1.	Turn off all equipment which might cause ignition.

2.	Open doors, windows, etc. for ventilation.

3.	Construct a temporary waterproof dike around the spill using oil absorbent booms, Plug and Dike or similar material.

4.	Construct a dike around any sanitary or storm sewer drain in the area to prevent the spilled liquid/solvent from entering the sanitary sewer or storm drain.

5.	From the diked area, the spilled material must be collected using mops, air-operated pumps, etc., and place in drums for disposal.

6.	Collect any contaminated residue and place in drum/container for disposal.

## Acid/Chemical Spill

Caution:	Do not allow spilled material to come in contact with skin or eyes.

Procedure:

A.	Caustic spill (pH greater than 7.0*):  Caustic materials include:

Caustic Soda (Sodium Hydroxide)

Oil Base Sweep #20

1.	Contain the spilled material using a dike of sand or other noncombustible absorbent material.

2.	Neutralize the spilled material with water or cover the spilled material with sand if there is a danger of the spill causing damage to the environment.

3.	Small spills may be diluted with water and discharged through the wastewater treatment system.

4.	Collect any contaminated residue, sand and/or absorbent and place in drum/container for disposal.

B.	Acidic spill (pH less than 7.0*):  Acidic materials include:

Formic Acid

1.	Contain the spilled material using a dike of sand or other noncombustible absorbent material.

2.	Neutralize the spilled material with absorbent.

3.	Collect any contaminated soil, sand and/or absorbent material and place in drums for disposal.

*If unsure of the pH, check with pH indicator.